## Slide 1
Laboratorio de Tiempo y Frecuencia
/ Time and Frequency
Laboratory
Eng. Liz Catherine Hernández Forero
lhernandez@inm.gov.co
Physicist. Nelson Bahamón Cortés
nbahamon@inm.gov.co

## Slide 5
< 2008 year 2010 year

## Slide 6
2015 year

## Slide 7
2015 year
Symmetricom Atomic clocks:
CsIII 4310B
5071A
Rb 8040C
Rohde & Schwarz:
Rb XSRM
Quartz XSD 2
Generator SMS 2
Network Time Server NTP:
Symmetricom 1520R-S350
Interactive Voice Response
(IVR-DELL).

## Slide 8
DATE | OBJECTIVE PROPOSED
2011 (SIC) to 2013 (INM) 2014 (Accreditation monitoring audit) | Accreditation
2013 | The Arrangement was signed
2014 to 2015 | 

## Slide 9
Accreditation Process
1.

## Slide 10
Accreditation Process

## Slide 11
Accreditation Process
Accreditation Process
2.

## Slide 12
Accreditation Process

## Slide 13
CIPM MRA (2013-05-15)

## Slide 14
Submission of the SIM.TF.10.2014 CMC
1.

## Slide 15
Submission of the SIM.TF.10.2014 CMC
2.

## Slide 16
Submission of the SIM.TF.10.2014 CMC
3.
Date | RMO | Version number of the CMC file | Quantity of comments
2014-05-30 to 2014-08-08 |  | 01 and 02 | 6
2014-08-08 to 2015-01-21 |  | 03 | 24
2015-01-21 to 2015-02-12 |  | 04 | 2

## Slide 17
Simposium at CENAM on 2014
Traceability in time and frequency using the phase difference calibration method
 Analysis of reported uncertainty since 2008 to 2014

## Slide 18
TRACEABILITY SCHEME
Colombian Legal Time
as a function of the INM by the
Decree 4175 of 2011

## Slide 19
5 MHz
1 PPS
(pulse per second)
Cesium Primary Standard
Symmetricom 5071A
AOG (Auxiliary Output Generator)
Microphase Stepper
Symmetricom
AOG-110
Distribution Switch of 1 PPS
Symmetricom 4033A
Time server NTP
Symmetricom 1520R-S350
UTC - 5 hours
Colombian Legal Time
Decree 2707 of 1982
Legal Time
Servers
Common View System
SIM Time Network (SIMTN)
LEGAL TIME
http://horalegal.inm.gov.co
Syncronization through
free software
from Symmetricom
http://tf.nist.gov/sim/
TRACEABILITY SCHEME
Interactive Voice Response
(IVR-DELL).
Colombian Legal Time
as a function of the INM by the
Decree 4175 of 2011

## Slide 20
TRACEABILITY SCHEME
LEGAL TIME
http://horalegal.
inm.gov.co

## Slide 21
TRACEABILITY SCHEME
LEGAL TIME
http://www.inm.
gov.co

## Slide 22
TRACEABILITY SCHEME
Syncronization through
free software
from Symmetricom

## Slide 23
OBJECTIVE | ACTIVITIES
What is done right now? | Proposing a method for adjusting the output signal of the Cesium standard using the AOG-110. To increase the SIMT(INM) contribution.

## Slide 24
SIM TFWG 2015 CENAMEP AIP

## Slide 28
OBJECTIVE | ACTIVITIES
What is used? | Automated and validated programs.

## Slide 29
OBJECTIVE | ACTIVITIES
What is proposed to do? | Improve the automatization method with an additional validation process, related to acquisition in real time with a PXI.

## Slide 30
Gracias!
Thank you!