## Slide 1
Centro Nacional de Metrología, CENAM, km 4.5 Carretera a los Cues, El Marques, Qro., www.cenan.mx
The future of the SI time unit
J. Mauricio López R.
CENTRO NACIONAL DE METROLOGÍA, CENAM

## Slide 2
2015 the international year of the light

## Slide 3
Optical spectroscopy

## Slide 4
Atomic clocks era
The last 600 years of time measurement
Progress at one order of magnitud per decade

## Slide 5
Ultracold matter and Cs fountain clocks
The last 600 years of time measurement
Progress at one order of magnitud per decade

## Slide 6
Frequency combs and optical atomic clocks
The last 600 years of time measurement
Progress about four orders of magnitud per decade !!

## Slide 7
FREQUENCY COMBS

## Slide 8
Frequency combs

## Slide 9
CENAM Ti:Sa Frequency Comb

## Slide 10
CENAM Ti:Sa Frequency Comb

## Slide 11
CENAM Ti:Sa Frequency Comb

## Slide 12
CENAM Ti:Sa Frequency Comb

## Slide 13
n
0
Detector de fase
Potencia de bombeo
x2
f0
Frequency combs
Frequency stabilization of CENAM Ti:Sa Frequency Comb
fo and fr : RF frequencies
 n : Optical frequencies

## Slide 14
n
Detector de fase
PZT
Ref.
Frequency stabilization of CENAM Ti:Sa Frequency Comb
Frequency combs
0
fo and fr : RF frequencies
 n : Optical frequencies

## Slide 15
ULTRA STABLE LASERS

## Slide 16
B. C. Young, F. C. Cruz, W. M. Itano, and J. C. Bergquist, Phys. Rev. Lett. 82, 3799 (1999).
Q = 1015
Ultra stable lasers and ULE cavities

## Slide 17
Y. Y. Jiang, A. D. Ludlow, N. D. Lemke, R. W. Fox, J. A. Sherman, L.-S. Ma and C. W. Oates, Making optical atomic clocks more stable with 10-16-level laser stabilization, Nature Photonics, Vol. 5, March 2011, 158.
Ultra stable lasers and ULE cavities

## Slide 18
Y. Y. Jiang, A. D. Ludlow, N. D. Lemke, R. W. Fox, J. A. Sherman, L.-S. Ma and C. W. Oates, Making optical atomic clocks more stable with 10-16-level laser stabilization, Nature Photonics, Vol. 5, March 2011, 158.
Ultra stable lasers and ULE cavities

## Slide 19
Cryogenic ULE Cavities
Ultra stable lasers and ULE cavities

## Slide 20
Ultra stable lasers and ULE cavities

## Slide 21
Ultra stable lasers and ULE cavities

## Slide 22
Ultra stable microwave frequencies from optical oscillators
Frequency combs

## Slide 23
OPTICAL TRANSITIONS

## Slide 24
A significant number of optical atomic reference transitions are currently being studied, within the two generic categories of electromagnetically trapped single ions and multiple atoms trapped in optical lattices.
Research is very much a work-in-progress and covers several ion species, but is concentrated primarily on 2 atom species (87Sr and 171Yb).

## Slide 25
JILA, University of Colorado and NIST Joint Institute for Laboratory Astrophysics; UIbk, University of Innsbruck; NICT, National Institute of Information and Communications Technology; UTokyo, University of Tokyo; U.Flo, University of Florence; U.Duess, University of Düsseldorf; U.Prov, University of Provence; ECNU, East China National University; WIPM, Wuhan Institute of Physics and Mathematics; LUH, Leibnitz University of Hanover.
R&D on different ion and atom lattice clock species of various NMIs and research groups

## Slide 26
“Estimated frequency uncertainty” refers to the uncertainty relative to the reference transition of the clock.
Current optical clock status for different ion and atom species

## Slide 27
1S0
6s2
1P1
3D3
3D2
3D1
3P2
3P1
3P0
l = 398.9 nm
t = 5.5 ns
g = 28.93 MHz
l = 555.8 nm
t = 850 ns
g = 187.24 kHz
l = 578.4 nm
t = 21 s (171Yb)
24 s (173Yb)
g = 7.6 mHz (171Yb)
6.6 mHz (173Yb)
6s6p
6s6p
6s5d
Optical atomic clocks
General Relativity at 1 cm and much more
171Yb Lattice Clock

## Slide 28
1. Ultra stable lasers
2. Frequency combs
3. Ultra narrow Optical transitions in ions or neutral atoms
4. Optical time scales
Key elements for a new definition of the SI second

## Slide 29
Key elements for a new definition of the SI second




1. Ultra stable lasers
2. Frequency combs
3. Ultra narrow Optical transitions in ions or neutral atoms
4. Optical time scales
Not yet but research in progress

## Slide 30
Performance of a time scale from optical clocks (?)
Time scale (?)

## Slide 31
Apart from optical frequency standards leading to a re-definition of the second, there are also possibilities of completely different approaches to a re-definition of the second. There are promising investigations of clock transitions of even higher frequencies, including nuclear transitions. There is still “a dream” of a calculable transition frequency related directly to fundamental constants such as the Rydberg constant and the speed of light. Even though the current accuracy and reproducibility of optical transitions is many orders of magnitude higher than the present best theories can deliver, these and other developments have to be followed carefully
Towards a new definition of the SI second

## Slide 32
Centro Nacional de Metrología, CENAM, km 4.5 Carretera a los Cues, El Marques, Qro., www.cenan.mx
J. Mauricio López R.
CENTRO NACIONAL DE METROLOGÍA, CENAM
THANK YOU!!
The future of the SI time unit