## Slide 1
CENAM´s Report to the 2015 SIM TFWG Meeting
En beneficio de la Nación

## Slide 2
Ensemble of Cs commercial clocks
Atomic Clocks and ultra stable lasers at CENAM

## Slide 3
Horno
de Cs
Láser de
bombeo
Láser de
detección
Detector
Cavidad de
microondas
CENAM thermal Cesium beam atomic clock
180 Hz

## Slide 4
Rabi pedestal comparison between CENAM CsOP-1 and CENAM CsOP-2
Ramsey fringe line comparison between CENAM CsOP-1 and CENAM CsOP-2.

## Slide 5
Cooling beams
Detection laser
Microwave cavity
Detector
Optical molases
CENAM Cs Fountain Clock
CENAM CsF-1
 600 nk

## Slide 6
33.0 cm
22.0 cm
35.0 cm
CENAM CsF-1
physical package

## Slide 8
Cavidad ULE
Pérdidas < 0.001 %
f = 628000
L = 10 cm
Dnfsr = 1.49 GHz
Dn = 2.3 kHz
Q = 1.52 ´ 1011
Ultra stable lasers and ULE cavities

## Slide 9
Cavidad ULE
Ultra stable lasers and ULE cavities

## Slide 10
Láser ECDL
Ultra stable lasers and ULE cavities

## Slide 11
Láser ECDL
Ultra stable lasers and ULE cavities

## Slide 12
Electrónica de control
D2-125 High-Speed Laser Servo
With Reconfigurable Loop-Filter Controls
High Bandwidth (10 MHz)
Servos Laser Current & PZT
User-Adjustable Loop Parameters
Applications:
• Atom & ion trapping, including BEC
• Frequency metrology
• Pound-Drever-Hall cavity locking
• Laser stabilization and control
• Position control
• AOM amplitude stabilization
Ultra stable lasers and ULE cavities

## Slide 13
Sistema óptico de la referencia de frecuencia ultra estable del CENAM

## Slide 14
Modos de la cavidad y transiciones del Cs
Ultra stable lasers and ULE cavities

## Slide 15
Ultra stable lasers and ULE cavities

## Slide 16
Chart: 852 nm Laser stability
Ultra stable lasers and ULE cavities

## Slide 17
Referencia de microondas ultra estable
Cavidad óptica
Láser
Peine de frecuencias
fr
Frequency combs

## Slide 18
Frequency combs

## Slide 19
Frequency combs

## Slide 20
Frequency combs

## Slide 21
Frequency combs

## Slide 22
Frequency combs

## Slide 23
ULE Cavity
852 nm
Ti:Sa Frequency Comb
Ultra Narrow Linewidth Laser
Ultra Low Phase Noise Microwaves (9.2 GHz)
Ultra Stable Laser to Trap and Cool Cs atoms (852 nm)
UTC(CNM)
Optical Clock
Cs Fountain Clock
ULE Cavity
Ultra Narrow Linewidth Laser
OPTICAL FREQUENCIES AT CENAM
Ultra Low Phase Noise Microwaves (9.2 GHz)

## Slide 24
Current CENAM´s Optical/Microwaves Frequencies projects
ULE
×2
To CsF-1 MOT
DDS
Laser Under Test
9.192 GHz
Ultra Stable Laser 2
CsF-1

1 pps
Time Scales laboratory

## Slide 25
1S0
6s2
1P1
3D3
3D2
3D1
3P2
3P1
3P0
l = 398.9 nm
t = 5.5 ns
g = 28.93 MHz
l = 555.8 nm
t = 850 ns
g = 187.24 kHz
l = 578.4 nm
t = 21 s (171Yb)
24 s (173Yb)
g = 7.6 mHz (171Yb)
6.6 mHz (173Yb)
6s6p
6s6p
6s5d
Future Work
171Yb Lattice Clock

## Slide 26
Future Work

## Slide 27
Optical Time Scales (?)
Time scale (?)
En beneficio de la Nación

## Slide 28
Dr. Eduardo de Carlos López
En beneficio de la Nación

## Slide 29
Dr. Sergio López López
En beneficio de la Nación

## Slide 30
Ing. Francisco Jiménez Tapia
En beneficio de la Nación

## Slide 31
Ing. Nélida Diaz Muñoz
En beneficio de la Nación

## Slide 32
En beneficio de la Nación

## Slide 33
Newton Apple Tree
En beneficio de la Nación

## Slide 34
En beneficio de la Nación

## Slide 35
En beneficio de la Nación